Science Wand

Usage Instructions

- Startup

  - Double-click the shortcut on your desktop called “Launch Science Wand”

OR

  - Double-click the file “ScienceWand.exe” from your install directory

- Image Loading

  - With the Science Wand window open,

  - Open the directory containing the images you would like to analyze

  - Drag and drop the image you want to analyze into the Science Wand window

  - KNOWN ISSUE: Some TIFF files may cause Science Wand to crash.  Until this is resolved, it is recommended to save images in the PNG format for analysis

- Analysis

  - Movement

    - Once an image is loaded, LEFT-CLICK and drag to pan around on the image

    - Scroll up with the MOUSE WHEEL to zoom into the image

    - Scroll down with the MOUSE WHEEL to zoom out of the image

  - Marking

    - Once you have identified a pixel to mark, RIGHT-CLICK to mark the pixel

    - You will see a portion of the image colored in bright green, indicating the portion of the image matching the pixel:

  - Adjusting

    - Note the new set of buttons created on the top-right side of the window:

    - Use the SLIDER to increase or decrease the sensitivity of the constraint.  Higher numbers will match a broader range of colors

    - For fine-tuning, you can enter a number into the TEXT BOX

    - If you are unhappy with the pixel selected, you can press the X button to remove the constraint

    - To temporarily disable the constraint, press the H button.  Note that the button becomes an S button.  Press it again to re-enable the constraint

  - Repeating

    - Once you are happy with the constraint you have created, you can RIGHT-CLICK on another pixel in the image to create a new set of constraints

    - You can repeat the previous steps as often as necessary:

    - The green mask in the image represents the union of the pixels that match all of the constraints you have created

    - To view the original, unmasked image, press the SPACE BAR.  Press the SPACE BAR again to toggle off this effect

- Export

  - Every time you add or remove a constraint (e.g. right-click the image), the image statistics are copied to the CLIPBOARD

  - You can paste the statistics for the image into Excel

  - If you would like to export the MASKED IMAGE for further manipulation (e.g. in Photoshop), you can click the Export Image button

  - The exported image will appear in the original folder as “Original Filename_masked.png”

  - For example, 317.png will become 317_masked.png

- Support

  - Please use the project website for support: https://github.com/2chen/colorlevels